How Brian Rasnow made his playback dipole

Here's how I made it. A couple of stainless ball bearings of known size, Kynar wire wrap wire, and acid solder flux for soldering stainless steel. Get some solder stuck on the bearings: put on the flux and melt (regular old) solder onto the ball), and then stick the wire in the melted solder as perpendicular to the ball as you can. Shove a piece of electrode pipette tubing (without the quick fill capillary) over the Kynar, but first paint the end of the wire with silicone.  I drilled 2  holes in a piece of plexiglass (on a press so they are vertical) the OD of the tubing, stuck the tubing in, and siliconed this to a piece of glass so the bottom surface was flat and the wires came out the side of the sandwich.