Nuclei Staining Procedure for Flow Cytometry

Supplies Necessary:  10mM PBS, 50mM MgCl2, IGEPAL, 1mg/ml Mithramycin, 10.9mM DAPI, Nuclei Cytometry Controls (BioSure( TEN, ZebraFish, CEN singlets)

Dual Dye Protocol

For Red Blood Cells

- Prepare nuclei as desired, using only EDTA as the anti-coagulant

  - 1-2mg EDTA / ml blood (~.15% EDTA)

  - The Molecular Probes protocol (see references) for counterstaining cells in suspension has worked with limited success on our red blood cells

- Proceed to staining step

For BioSure( Nuclei Controls

- Gently mix stock for 10 sec

- Add 1 drop CEN or TEN, or 3 drops ZebraFish per 1.0 ml staining buffer

For All: Staining

- Resuspend nuclei/cell pellet in 1.0 ml Mithramycin Staining Buffer

Per 1 ml:	300 (l 	50 mM MgCl2

1 (l	IGEPAL

50 (l	1 mg/ml mithramycin (=50 (g/ml working)

649 (l	10mM PBS

- Mix gently via slow vortex

- Store in dark, overnight 4 (C

- Add .5 (l 10.9mM DAPI (= 2.5 (g/ml working), incubate at 4 (C, in dark, up to 1 hour

- Analyze by flow cytometry

PROTOCOL REFERENCES

Vinogradov AE.  Genome size and GC-percent in vertebrates as determined by flow cytometry: the triangular relationship.  Cytometry. 1998 Feb 1;31(2):100-9.

Vinogradov AE.  Measurement by flow cytometry of genomic AT/GC ratio and genome size.
Cytometry. 1994 May 1;16(1):34-40.

Molecular Probes MP 01306 – DAPI Nucleic Acid Stain

  - For a Counterstaining Protocol as well as the DAPI spectra

Crissman HA, Stevenson AP, Orlicky DJ, Kissane RJ.  Detailed studies on the application of three fluorescent antibiotics for DNA staining in flow cytometry.  Stain Technol. 1978 Nov;53(6):321-30.

  - For Mithramycin specta