### RNA Preparation: Spin Protocol

Supplies Necessary:  Scalpel, RNAlater, TRIzol, Chloroform, Homogenizer, 70% ethanol, QIAGEN RNeasy Mini Spin Kit

Tissue Collection

Keep all tissue on ice

- Long Term Storage

  - Tissue: Cut into small cubes (.5 X 1 X 1 cm), place in 5X RNAlater

  - Cells:  Suspend in 5-10X RNAlater

  - Incubate at 4(C overnight, store at -20(C.  Thaw fully before proceeding.

- Same Day Collection

  - Tissue: Cut into small cubes (.5 X 1 X 1 cm)

  - Cells: Cell pellet or individual cells with .5 (l culture media/cell

TRIzol Step

In 1.5 mL Microcentrifuge Tubes

- Tissue: 1 ml TRIzol / 50 – 100 mg

  - If in RNAlater, removed tissue with forceps, shake to remove excess RNAlater before placing in TRIzol

  - Homogenize the tissue

  - Previously Frozen Tissue: Skip step 3

2)   Cells:  350 (l TRIzol for ( 50 cells

  - If in RNAlater, spin 10 min / 1800 rpm; draw off RNAlater (do not pour)

- Store at RT for 5 min

  - Cells: Lyse via repetitive pipetting, then sit 5 min

  - Tissue:  Centrifuge 15 min / 4(C / 12,000 x g after incubation.  Draw off supernatant to new tube

- Add 20 (l chloroform / 100 (l TRIzol

  - Shake tubes vigorously by hand for 15-20 sec

- Incubate at RT 2-3 min

- Centrifuge 15 min / 4(C / 12,000 x g

- Remove aqueous (top) phase (measure volume) to new microcentrifuge tube

RNeasy Mini Spin Protocol

- Add equal volume of 70% ethanol, mix via pipetting

  - Slow introduction

- Add all sample in RNeasy column, spin 30 sec at  ( 8,000 x g; discard flow-through

  - Max volume for column is 700 (l – if larger volume is required, load column twice

- Add 700 (l Buffer RW1, spin 30 sec at  ( 8,000 x g; discard flow-through and collection tube

- On new collection tube, add 500 (l Buffer RPE (* w/ EtOH), spin 30 sec at  ( 8,000 x g; discard flow-through

- Add additional 500 (l Buffer RPE, spin 2 min at ( 8,000 x g; discard flow-through

- Spin empty 2 min at ( 8,000 x g

- Transfer colum to 1.5 mL collection tube, add 30 – 50 (l RNase-free H2O.  Allow incubation at RT 1 – 2 min.  Spin max speed 1 min to elute.

  - Add H2O directly to center of column, press lightly then lift up

- Store RNA at -20(C

NOTES

RNA ‘Clean’ Environment:

- Wash all pipettes with RNase-Away before use

- Use only RNase/DNase-free microcentrifuge tubes and reagents

- Work under the hood and use RNase-Away sterilized gloves

RNA DNase Digestion

Supplies Necessary:  RQ1 RNase-Free DNase 10X Buffer, RQ1 RNase-Free DNase, RQ1 Stop Solution, Dry heating block

Protocol

In .5 mL Microcentrifuge Tubes

| 9 (l | RNA sample (in H2O) |
| --- | --- |
| 1 (l | RQ1 RNase-Free DNase 10X buffer |
| 1 (l | RQ1 RNase-Free DNase |
| 11 (l |  |

- Incubate 37 (C / 30 min on heating block

- Remove from block, increase heat to 65 (C

- Add 1 (l Stop Solution

- Incubate 65 (C / 10 min

- Store treated RNA at -20(C

NOTES

- Treatment adds Mg2+ to RT step: 5 (l Treated RNA input = 2.08 mM Mg2+ added

6 (l Treated RNA input = 2.49 mM Mg2+ added

- Thaw Buffer, Stop solution and RNA on ice.  Keep DNase in cold block until use.

- Vortex and centrifuge every reagent and RNA before use

RNA ‘Clean’ Environment:

- Wash all pipettes with RNase-Away before use

- Use only RNase/DNase-free microcentrifuge tubes and reagents

- Work under the hood and use RNase-Away sterilized gloves

Reverse Transcription

Supplies Necessary:  5X First Strand Buffer, RNasin Plus, DTT, dNTP, oligo(dT)18, RNase/DNase-Free H2O, Reverse Transcriptase

Protocol

- Add 5 (l RNA to 4 (l RNase/DNase-Free H2O + 1 (l 50 (M oligo(dT)18

  - In .5 mL microcentrifuge tubes

  - * For ‘-’ control1 (BLANK) do not add RNA, add 5 (l H2O

  - Can use RNasin Free Medium (2X) instead: 5 (l RNA + 5 (l Freeze Medium.      See scRT-PCR protocol

- Warm samples to 65 (C / 5 min, store on ice

- Add 2 (l RNase/DNase-Free H2O to each clear .2mL PCR tube

  - Use the clear 8-tube strips marked for cDNA

- Prepare and add 7 (l RT Master Mix to each PCR tube

Reverse Transcription Master Mix (w/ dNTPs)

| 4 (l | 5X First Strand Buffer |
| --- | --- |
| 1 (l | 40 U/(l RNasin Plus |
| 1 (l | .1M DTT |
| 1 (l | 10 mM dNTP mix |
| 7 (l |  |

- Spin RNA samples briefly, transfer all (10 (l) to PCR tube

- Immediately before incubation, add 1 (l 200 U/(l Superscript III Reverse Transcriptase

  - * For ‘-’ control2 (No RT) do not add RTase, add 1 (l H2O

- Incubate 50 (C / 50 min, 70 (C / 15 min

- Add .5 (l RNase H (5 U/ (l), incubate 37 (C/ 20 min

- Store cDNA at -20(C

NOTES

- Thaw everything on ice except RNasin Plus and Reverse Transcriptase; Keep these on cold block until use

- Remember to use the proper dilutions (oligo(dT)18 is at 100 (M stock)

- Vortex and centrifuge every reagent and master mix before use

RNA ‘Clean’ Environment:

- Wash all pipettes with RNase-Away before use

- Use only RNase/DNase-free microcentrifuge tubes and reagents

- Work under the hood and use RNase-Away sterilized gloves

PCR Protocol

Supplies Necessary:  10X PCR Buffer, MgCl2, dNTP mix, Primers, RNase/DNase-Free H2O, Taq DNA Polymerase

Protocol

- Add 39.2 (l RNase/DNase-Free H2O to each blue .2mL PCR tube

  - Use the blue 8-tube strips marked for cDNA

- Add 9.5 (l PCR Master Mix to each PCR tube

PCR Master Mix

| 5 (l | 10X PCR Buffer |
| --- | --- |
| 1.5 (l | 50 mM MgCl2 |
| 1 (l | 10 mM dNTP mix |
| 1 (l | Primer Left (10 (M) |
| 1 (l | Primer Right (10 (M) |
| 9.5 (l |  |

- Add 1 (l cDNA

- For ‘+’ Control:  38.7 (l H2O, 5 (l 10X PCR Buffer, 1.5 (l 50 mM MgCl2, 1 (l 10mM dNTP, 2.5 (l Control Primer Mix, 1 (l Control DNA

- Add .3 (l 5U/(l Taq DNA Polymerase

  - Either Invitrogen Platinum Taq (hot start enzyme – cycling already takes this into account) or the cheaper Promega Taq in Buffer B (M1661)

- Cap tubes, vortex, centrifuge briefly

- Incubate 94(C / 3 min

94 (C / 45 sec

annealing temp / 30 sec

72 (C / 1.5 min

72 (C / 10 min, maintain at 4 (C

- Store amplicon at –20 (C or keep at 4 (C and run gel same day

NOTES

- Thaw everything on ice except Taq DNA Polymerase; Keep this on cold box until use

- Vortex and centrifuge every reagent and master mix before use

- Prepare reaction under hood, but remove from hood immediately after Polymerase addition.

- NEVER place amplicon back into the ‘clean’ hood

- During centrifugation, attempt to remove as many bubbles as possible from reactions

- RNase-Away cleaning is suggested, but optional

- Different concentrations of Primer or Buffer or MgCl2 will change the master mix final volume, and thus the H2O final volume

QIAQuick PCR Purification

Supplies Necessary:  QIAQuick PCR Purification Kit

Protocol

- Add 5 volumes Buffer PB to 1 volume of PCR sample, mix via slow vortex

  - Usually 45 (l + 225 (l Buffer PB

- Place QIAQuick Spin Column in 2 mL collection tube

- Apply Sample to Column, Spin 30-60 sec / 13,000 rpm; Discard flow-through

- Add .75 mL Buffer PE to column, centrifuge 30-60 sec / 13,000 rpm; Discard flow-through

  - *Make sure 96-100% EtOH added to PE

- Centrifuge empty 1 min

- Place column in clean 1.5 mL microcentrifuge tube

- Elute DNA w/ 50 (l Buffer EB or 30 (l Buffer EB + let stand 1 min

  - Add EB directly to center of column, press lightly then lift up

- Centrifuge 1 min / 13,000 rpm

  - Average elution: 50 => 48 (l

30 => 28 (l

- Store at -20 (C

NOTES

- Prepare Purification on PCR benchtop – NOT in ‘clean’ hood

- Use autoclaved tubes outside of hood only

Sequencing Setup

Supplies Necessary:  Individual .2mL PCR Tubes, Access to fluorometer

Protocol

- Sample Quantitation via Fluorometer

  - 1 (l  x  ?  = ? ng

? ng / 2 mL = Final [DNA] in cuvette in ng / ml = original [DNA] ng /(l

- Aliquot out at least 5 (l of template at ( 5 ng / ul

  - Make 2 tubes per template – one each for forward / reverse primer

- Dilute primers to desired concentration, aliquot out 2 (l to new tubes

  - One only in each .2 mL PCR tube

- Fill out forms, # samples on top

QIAQuick Gel Extraction Protocol

Supplies Necessary:  QIAQuick PCR Purification Kit, Buffer QG, isopropanol

Protocol

- Cut band from gel with scalpel, using low UV light source

- Place slice in preweighed colorless 1.5 mL tube, weigh

  - Determine gel slice mass

- Add 3 volumes of Buffer QG to 1 volume gel (100 mg ~ 100 (l)

  - Max load of 400 mg

  - For > 2% agarose gel, add 6 volumes QG

- Incubate 50 (C / 10 min until gel dissolves

  - Vortex every 3 minutes until dissolved

- Check color

  - Yellow = OK

  - Orange/Violet = add 10 (l of 3M sodium acetate, pH 5.0; mix until yellow

- Add 1 gel volume of isopropanol, mix but do not centrifuge

- Place QIAQuick Spin Column in 2 mL collection tube

- Apply sample (max 800 (l) to QIAQuick Column, centrifuge 1 min / 13,000 rpm; discard flow-through

  - Apply sample twice if necessary

- Add .5 mL Buffer QG to QIAQuick Column, centrifuge 1 min / 13,000 rpm; discard flow-through

- Add .75 mL Buffer PE, centrifuge 1 min / 13,000 rpm

  - Let stand 2 – 5 min before centrifuge

- Discard flow-through, spin empty 1 min / 13,000 rpm

- Place column in clean 1.5 mL tube

- Elute with 50 (l or 30 (l + let sit 1 min Buffer EB.  Centrifuge 1 min / max speed

  - Add EB directly to center of column, press lightly then lift up

- Store at -20(C

NOTES

- Prepare Purification on PCR benchtop – NOT in ‘clean’ hood

- Use autoclaved tubes outside of hood only

Single Cell Reverse Transcription PCR (scRT-PCR) – Pinni Electrocytes

Neuron Dissociation

Supplies Necessary:  Dissection kit, small petri dishes, Basic Sterno Saline, Calcium-free Sterno Saline

Basic Sterno Saline: 114 mM NaCl, 2mM KCl, 4mM CaCl22H2O, 2mM MgCl26H2O, 5mM HEPES pH 7.2, 5mM Glucose

Calcium-Free Sterno Saline: 114mM, 2mM KCl, 6mM MgCl26H2O, 5mM HEPES, .2mM EGTA, pH 7.2, 6mM Glucose

- Dissect tail tissue in Basic Sterno Saline

- Remove at least one side of skin, preferably both

- Transfer tail to microcentrifuge tube (1.5ml), incubate in 1-2% Collagenase only in Basic Sterno Saline w/ glucose

- Incubate at least 3 hours at room temp or at 4( overnight

  - Results will vary – 24 hr at 4( with 2% Collagenase only has worked

- Remove tissue from Collagenase, rinse in Calcium-Free Sterno Saline via dipping and swirling in filled petri dish; Let sit 5 min

- Place tissue in fresh Basic Sterno Saline; Isolate eletrocytes via mechanical dissociation with forceps and/or 1000 (l pipette tip

Lysis

Supplies Necessary:  Fire polished cut-tip10 (l pipette tips, .5(l RNase/DNase-Free Microcentrifuge tubes, RNasin Freeze Medium, RNase/DNase-Free H2O, Dry-Ice

RNasin Freeze Medium (2X)

| 2 (l | 40U / (l RNasin Plus |
| --- | --- |
| 5 (l | RNase/DNase Free H2O |
| 1 (l | 100 mM DTT |
| 2 (l | 50 (M Oligo (dT)18 |
| 10 (l |  |

- Prepare .5mL Tubes with 5 (l RNasin Freeze Medium (2X) each

  - .4 (l 10% IGEPAL can be added to each tube to assist in the lysis, however the effectiveness has not been fully tested with these cells

- Extract Dissociated, washed electrocytes in .5-1(l aliquots with pipette tip that has been cut for a bigger opening and then fire polished

  - Max Extracted Volume: 5 (l (~10 cells)

- Add H2O to make total volume 10 (l (therefore a 1X Freeze Medium)

- Perform a quick spin down of tubes to remove bubbles

- Rapidly freeze in dry ice by placing tubes into ice block; Store frozen samples at –80(C

* For ‘-’ control1 (BLANK) do not add cells, add 5 (l H2O, freeze as above

-potential stop-

Reverse Transcription

Supplies Necessary:  5X First Strand Buffer, RNasin Plus, DTT, dNTP, RNase/DNase-Free H2O, Reverse Transcriptase

Reverse Transcription Master Mix (w/ dNTPs)

| 4 (l | 5X First Strand Buffer |
| --- | --- |
| 1 (l | 40 U/(l RNasin Plus |
| 1 (l | .1M DTT |
| 1 (l | 10 mM dNTP mix |
| 7 (l |  |

Single Cell Reverse Transcription PCR (scRT-PCR) (con)

Reverse Transcription (con)

- Warm samples to 65 (C / 5 min, immediately place on ice

- Add 2 (l RNase/DNase-Free H2O to each clear .2mL PCR tube

  - Use the clear 8-tube strips marked for cDNA

- Prepare and add 7 (l RT Master Mix to each PCR tube

- Spin lysed cell samples briefly, transfer all (10 (l) to PCR tube

- Immediately before incubation, add 1 (l 200 U/(l Superscript III Reverse Transcriptase

  - * For ‘-’ control2 (No RT) do not add RTase, add 1 (l H2O

- Incubate 50 (C / 50 min, 70 (C / 15 min

- Add .5 (l RNase H (5 U/ (l), incubate 37 (C/ 20 min

- Store cDNA at -20(C

-potential stop-

Polymerase Chain Reaction

Supplies Necessary:  10X PCR Buffer, MgCl2, dNTP mix, Primers, RNase/DNase-Free H2O, Taq DNA Polymerase

PCR Master Mix

| 5 (l | 10X PCR Buffer |
| --- | --- |
| 1.5 (l | 50 mM MgCl2 |
| 1 (l | 10 mM dNTP mix |
| 1 (l | Primer Left (10 (M) |
| 1 (l | Primer Right (10 (M) |
| 9.5 (l |  |

- Add 36.2 (l RNase/DNase-Free H2O to each blue .2mL PCR tube

  - Use the blue 8-tube strips marked for cDNA

- Add 9.5 (l PCR Master Mix to each PCR tube

- Add 4 (l cDNA

- For ‘+’ Control:  38.7 (l H2O, 5 (l 10X PCR Buffer, 1.5 (l 50 mM MgCl2, 1 (l 10mM dNTP, 2.5 (l Control Primer Mix, 1 (l Control DNA

- Add .3 (l 5U/(l Taq DNA Polymerase

  - Either Invitrogen Platinum Taq (hot start enzyme – cycling already takes this into account) or the cheaper Promega Taq in Buffer B (M1661)

- Cap tubes, vortex, centrifuge briefly

- Incubate 94(C / 3 min

94 (C / 45 sec

annealing temp / 30 sec

72 (C / 1.5 min

72 (C / 10 min, maintain at 4 (C

- Store amplicon at –20 (C or keep at 4 (C and run gel same day

-STOP-

NOTES

- See protocol-specific pages in this document

Single Cell Reverse Transcription PCR (scRT-PCR) (con)

PROTOCOL REFERENCES

Wagatsuma, A. et al.  Determination of the exact copy numbers of particular mRNAs in a single cell by quantitative real-time RT-PCR.  J Exp Biol. 2005 Jun;208(Pt 12):2389-98

Day, M. et al.  Dendritic excitability of mouse frontal cortex pyramidal neurons is shaped by the interaction among HCN, Kir2, and Kleak channels.  J Neurosci. 2005 Sep 21;25(38):8776-87.

Klebe, RJ. et al.  RT-PCR Without RNA Isolation.   BioTechniques. 1996 Dec; 21: 1094-1100.

# Text boxes

X 35 cycles

X 35 cycles